## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Fern View Grove
Sheffield
S12 4PW
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32020
DATE OF REPORT: 20/09/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 5 Fern View Grove
Sheffield
S12 4PW
Carried Out On | 16/09/2023
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler and rads

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date - Boiler to be removed - Boiler Serial number - Job Type – Conversion / boiler replacement / full heating - unsure Combi / heat only / system boiler - combi Boiler location -kitchen Is 22mm gas pipe visible at boiler - yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - 1 No of Flue 45 - none No of Flue 90's - none Scaffolding required -no Flue guard needed - no Standoff kit required -yes Gas meter internal / external – external Condensate Requirements Is a Condensate pump required ( Yes / No ) - no Condensate current termination currently acceptable ( Yes / No ) - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Internal Number of radiators at the property - 9 radiators 3 towel rails not changing Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm Size of pipework at radiators - 10mm Number of bathrooms - 3 Electric shower - na Any other means of heating - Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas none Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 15mm Pipe Required in meters - Talon Trunking 15mm double required - Talon Trunking 22mm double required - Talon Trunking external corners & Size - Talon Trunking internal corners & Size - Talon Trunking End Caps & Size - Talon Trunking connectors & Size - Radiator 1 - Location ( Kitchen, Living Room ) - kitchen Room size ( Width & Length ) - Ceiling height - Current Rad size - 1100mm W x 600mm H Current Rad type ( DPX ) Max Rad size if radiator is to be increased - Radiator 2 - Location ( Kitchen, Living Room ) - Hall Room size ( Width & Length ) - Ceiling height - Current Rad size -w 800mm x h 600mm Current Rad type ( DPX ) Max Rad size if radiator is to be increased - Radiator 3 - Location ( Kitchen, Living Room ) - toilet wc Room size ( Width & Length ) - Ceiling height - Current Rad size - 500mm x 400mm Current Rad type ( Single, ) Max Rad size if radiator is to be increased - Radiator 4 - Location ( Kitchen, Living Room ) - living room Room size ( Width & Length ) - Ceiling height - Current Rad size -w1100 x h 500 Current Rad type ( , Double) Max Rad size if radiator is to be increased - Radiator 1 - Location ( Kitchen, Living Room ) - lounge Room size ( Width & Length ) - Ceiling height - Current Rad size - w600x h 500mm Current Rad type ( Double, Max Rad size if radiator is to be increased - Radiator 5 - Location ( Kitchen, Living Room ) - hall Room size ( Width & Length ) - Ceiling height - Current Rad size -w 500mm x 600mm Current Rad type (DPX ) Max Rad size if radiator is to be increased - Radiator 6 - Location ( Kitchen, Living Room ) - bed Room size ( Width & Length ) - Ceiling height - Current Rad size - w800x h400mm Current Rad type ( DPX ) Max Rad size if radiator is to be increased - Radiator 7 - Location ( Kitchen, Living Room ) - bed 2 Room size ( Width & Length ) - Ceiling height - Current Rad size - w900mm x h400mm Current Rad type ( DPX ) Max Rad size if radiator is to be increased - Radiator 8 - Location ( Kitchen, Living Room ) - bed 3 Room size ( Width & Length ) - Ceiling height - Current Rad size -w800m x h 400mm Current Rad type ( , DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes