## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Newhill Lane
Sheffield
S12 4TG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32072
DATE OF REPORT: 31/05/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 12 Newhill Lane
Sheffield
S12 4TG
Carried Out On | 31/05/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -march 2033 Downstairs Smoke Alarm Location & Date -march 2033 Heat Alarm Location & Date -march 2033 Co Alarm Location & Date - unable to see date Co Alarm Replaced - No Boiler to be removed -glow worm flexicom 18sx Boiler Serial number –unable to see Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -condensing boiler Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Runs internal Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -9 Size of pipework at radiators - 10mm Number of bathrooms -1 and a downstairs toilet Electric shower -yes Any other means of heating -no Current Cooker Type – Gas’s (HOB) Current Fire Type – Electric / Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes