## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Houndsway
York
YO24 3NQ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32092
DATE OF REPORT: 25/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 14 Houndsway
York
YO24 3NQ
Carried Out On | 25/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and rads replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -na Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -na Co Alarm Location & Date -march 2024 Co Alarm Replaced - No Boiler to be removed -potterton promax combi epr Boiler Serial number – PXA154650422AC Job Type – Conversion / boiler replacement / full heating full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –vertical flue. 1 extension 2 45 Any access requirements to access flue -roofer required Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -na Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Tenant had asked if we could only replace radiators and not pipework as they can’t do the disturbance in the house. Bedroom 1 Room size-3.5 x 2.7 Ceiling height- 2.4 Rad size- 1000 x 700 Max size- same size Bathroom Room size-2.4 x. 2.2 Ceiling height- 2.4 Rad size- 800 x 600 Max size- same size exactly Tenant has asked if they buy towel rail could we put it in for them when we are there. Can someone speak to home group and get clarification and give them a call please. Bedroom 2 Room size-2.6 c 4.4 Ceiling height- 2.4 Rad size- 1100 x 600 Max size- same size Bedroom 3 Room size-1.7 x 2.7 Ceiling height- 2.4 Rad size- 640 x 600 Max size- same size Hallway Room size-2.2 x 1.2 Ceiling height- 2.3 Rad size- 650 x 700 Max size- same size Living room 1 Room size-8.3 x 3.2 Ceiling height- 2.4 Rad size- 2200 x 500 single Max size- same size Living room 2 Room size- Ceiling height- Rad size- 2000 x 300 Max size- could go 450 high Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32092
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes