## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Newhill Lane
Sheffield
S12 4TG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32104
DATE OF REPORT: 01/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 13 Newhill Lane
Sheffield
S12 4TG
Carried Out On | 01/06/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and rads replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -feb 2028 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -unable to see date Co Alarm Location & Date -unable to see Co Alarm Replaced - na Boiler to be removed -glowworm flexicom 18sx Boiler Serial number –unable to see Job Type – Conversion / boiler replacement / full heating -boiler swap with rads Combi / heat only / system boiler -system boiler Cylinder in upstairs cupboard Boiler location -kitchen Is 22mm gas pipe visible at boiler -unable to see Flue type –horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -runs internal If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -9 Size of pipework at radiators -10mm Number of bathrooms -9 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – na Bed 1 Room size- 2.7 x 4.5 Height- 2.4 Current radiator size- 800x600 dpx Maximum dimensions window sill is 1000 Hallway- 1.7 x 2.6 Height- 2.4 Rad size- 900 x 600 Max size- 900 x 600 Downstairs room- 2.7 x 1.4 Height- 2.4 Rad size- 600 x 600 Max size- 1000 length Living room- 4.9 x 3.4 Height- 3.3 Rad size- 1200 x 600 Max size- 1450 length Kitchen- 2.8 x 5.1 Height- 2.8 Rad size- 1200 x 600 Max size- 1500 length Bedroom 2- 3.5 x 2.5 Height- 2.3 Rad size- 800x 600 Max size- 800x 600 Bathroom- 2.2 x 1.7 Height- 2.3 Rad size- 500x500 Max size- 500x500 Bed 3- 2.4 x 5.1 Height1 2.3 Rad size- 1200 x 600 Max size- 1200x 600 Downstairs bathroom- 1.3 x 1.6 Height- 2.4 Rad size- 400 x 600 Max size- 400x 600

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32104
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes