## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
69 Seaton Close
Staithes
Saltburn-By-The-Sea
TS13 5AU
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32240
DATE OF REPORT: 07/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 69 Seaton Close
Staithes
Saltburn-By-The-Sea
TS13 5AU
Carried Out On | 07/06/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and rads replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 3: Report
BOILER ONLY TENANT HAS HEALTH ISSUES AND WE CSNR GO IN EVERY ROOM Upstairs Smoke Alarm Location & Date -sept 2032 Downstairs Smoke Alarm Location & Date -December 2032 Heat Alarm Location & Date - Co Alarm Location & Date -may 2026 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA075045334CB Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -boiler is second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – log burner

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes