## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Wreigh Burn Fields
Thropton
Morpeth
NE65 7LP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32292
DATE OF REPORT: 06/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Wreigh Burn Fields
Thropton
Morpeth
NE65 7LP
Carried Out On | 06/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Repair to ASHP as tenant has no heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 3: Report
PN 06/06/23 Hot water was working Ambient temperature warmer than pump so will not kick in till temp drops

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes