## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
52 Simonside Crescent
Hadston
Morpeth
NE65 9YB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32321
DATE OF REPORT: 07/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 52 Simonside Crescent
Hadston
Morpeth
NE65 9YB
Carried Out On | 07/06/2023
Survey Completed By | Scott Hanson
SECTION 2: Introduction
Boiler not working, displaying 'SER F28'

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 3: Report
Boiler was at 3bar when I got there and prv dripping. No ignition to the boiler though. Reset boiler and tried to ignite. Checked meter for credit. Meter had credit but was off for some reason. Switched meter back on with customers meter card. Boiler fired on hot water and heating. Reduced pressure in boiler before leaving

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32321
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes