## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area - 10 Beatrice Road
Newcastle upon Tyne
Tyne and Wear
NE6 5RJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32371
DATE OF REPORT: 07/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area - 10 Beatrice Road
Newcastle upon Tyne
Tyne and Wear
NE6 5RJ
Carried Out On | 07/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Gas capped due to pipe corrosion- no heating and hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 3: Report
PN 07/06/23 Gas valve passing gas Recapped Ecv and warning notice applied GC 47-393-48

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes