## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Spinners Croft
Crook
County Durham
DL15 8HG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32411
DATE OF REPORT: 08/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 Spinners Croft
Crook
County Durham
DL15 8HG
Carried Out On | 08/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
gas leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 3: Report
PN 08/06/23 New gas pipe ran external from meter to boiler 1x 3m 22mm pipe 5x 22mm elbows 1x 22-15mm reducer 1ft 15mm pipe 1x 15mm elbow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32411
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes