## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
71 Seaton Close
Staithes
Saltburn-By-The-Sea
TS13 5AU
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32586
DATE OF REPORT: 13/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 71 Seaton Close
Staithes
Saltburn-By-The-Sea
TS13 5AU
Carried Out On | 13/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler and rads

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - landing apr 2026 Downstairs Smoke Alarm Location & Date - hall sept 2029 Heat Alarm Location & Date - kitchen may 2029 Co Alarm Location & Date - bedroom March 2029 Boiler to be removed - potterton promax 28 HE Boiler Serial number - awa080630246ac Job Type – Conversion / boiler replacement / full heating - full heating Combi / heat only / system boiler - combi Boiler location - bedroom Is 22mm gas pipe visible at boiler - yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required -no Flue guard needed -no Standoff kit required -no Gas meter internal / external – external Condensate Requirements Is a Condensate pump required ( Yes / No ) -no Condensate current termination currently acceptable ( Yes / No ) -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 19mm Number of radiators at the property -9 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm piperwork 15mm valves Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower - yes Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric Full Heating Section ( Measure pipe and trunking accurately ) 22mm Pipe Required in meters - 24 15mm Pipe Required in meters - 56 Talon Trunking 15mm double required - 24 Talon Trunking 22mm double required - Talon Trunking external corners & Size - 15mmx7 Talon Trunking internal corners & Size - 15mmx 7 Talon Trunking End Caps & Size - 15mm x4 Talon Trunking connectors & Size - 15mm x 8 Radiator 1 - Location ( Kitchen, Living Room ) - hall Room size ( Width & Length ) - 1.5m by 2.5m Ceiling height - 2.4m Current Rad size - 600x 600 Current Rad type ( Single, Double, DPX ) single convector Max Rad size if radiator is to be increased - 800x 600 Radiator 2 - Location ( Kitchen, Living Room ) - kitchen Room size ( Width & Length ) - 2.2 metres by 3.6 metres Ceiling height -2.4 Current Rad size -800 x 600 Current Rad type ( Single, Double, DPX ) double convector Max Rad size if radiator is to be increased - 800x 600 Radiator 3 - Location ( Kitchen, Living Room ) - living room Room size ( Width & Length ) - 2.6 metres by 3.7 metres Ceiling height - 2.4 Current Rad size - 1400 by 600 and 1200 by 600 Current Rad type ( Single, Double, DPX ) singles Max Rad size if radiator is to be increased - same as current Radiator 4 - Location ( Kitchen, Living Room ) - landing Room size ( Width & Length ) - 1.7 metres by 2 metres Ceiling height - 2.4 Current Rad size - 600 by 600 Current Rad type ( Single, Double, DPX ) single convector Max Rad size if radiator is to be increased - 800 x 600 Radiator 1 - Location ( Kitchen, Living Room ) - bathroom Room size ( Width & Length ) -1.7 by 2.4 Ceiling height -2.4 Current Rad size - 700 by 600 Current Rad type ( Single, Double, DPX ) single convector Max Rad size if radiator is to be increased -800x 600 Radiator 5 - Location ( Kitchen, Living Room ) - bedroom Room size ( Width & Length ) - 2.3 metres by 2.4 Ceiling height - 2.4 Current Rad size -1200x 600 Current Rad type ( Single, Double, DPX ) single convector Max Rad size if radiator is to be increased - 1200x 600 Radiator 6 - Location ( Kitchen, Living Room ) - bedroom Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 7 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) -3.7 by 2.5 Ceiling height - 2.4 Current Rad size - 1200x 600 x 2 Current Rad type ( Single, Double, DPX ) single convector Max Rad size if radiator is to be increased - 1200x 600 Radiator 8 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 9 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 10 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 11 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased - Radiator 12 - Location ( Kitchen, Living Room ) - Room size ( Width & Length ) - Ceiling height - Current Rad size - Current Rad type ( Single, Double, DPX ) Max Rad size if radiator is to be increased -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes