## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Seaton Crescent
Staithes
Saltburn-By-The-Sea
TS13 5AY
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-32595
DATE OF REPORT: 11/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 31 Seaton Crescent
Staithes
Saltburn-By-The-Sea
TS13 5AY
Carried Out On | 10/08/2023
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - hallway Downstairs Smoke Alarm Location & Date - kitchen Heat Alarm Location & Date - kitchen Co Alarm Location & Date - none Co Alarm Replaced - Yes Boiler to be removed - potterton golf Boiler Serial number – na Job Type – boiler replacement Combi Boiler location - bedroom Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue - na Flue guard needed - no above 3m Standoff kit required - no Gas meter internal / external – external Condensate Condensate pump required – No Condensate current termination acceptable yes - If no what needs to be amended to bring it up to regs ? Yes Is the condensate currently through the wall in 19 or 32mm ? 19 Number of radiators -8 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15mm Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -na Any other means of heating - no Current Cooker Type – Electric / Current Fire Type – Electric / Flue above pitched roof unable to use roof ladder no ridge

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32595
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes