## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Thomas Swan
Rotary Way
Consett
DH8 7ND
CARRIED OUT ON BEHALF OF
Thomas Swan & Co Ltd
REPORT NUMBER: 23-32666
DATE OF REPORT: 04/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thomas Swan & Co Ltd
Address | Rotary Way
Consett
Co Durham
DH8 7ND
Site Address | Thomas Swan
Rotary Way
Consett
DH8 7ND
Carried Out On | 15/06/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Survey site for servicing requirements.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 3: Report
Work now not required Pressurisation unit and pressure relief valve work has been carried out by others. Boiler services 1 x baxi/potterton system boiler 1x ideal xtra el 470 commercial boiler Materials for unvented cylinder 9m x 22mm copper 6m x 15mm copper And a selection of 15mm and 22mm clips Immersion heaters will require wiring but existing cables can be used. There will be no obstructions as have informed that the cleaners materials to be removed before work commences

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes