## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Larriston
Prudhoe
Northumberland
NE42 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32740
DATE OF REPORT: 15/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Larriston
Prudhoe
Northumberland
NE42 6LH
Carried Out On | 15/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
CODETECT CO Detector Service 1 2 GSBOIL Domestic Gas Boiler Service 1 45 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 3: Report
PN 15/06/23 Sent cert back to karbon as 02 readings were 20.00 Was unable to book a repair so went in loft and tenant had placed bags against flue moved bags straightened flue readings were 20.9 completed job

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32740
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes