## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Various Addresses
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32797
DATE OF REPORT: 19/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Various Addresses
Carried Out On | 19/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Total Mobile

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 3: Report
Completed Services -9 No accesses - 1 Denied Entry - Tenant cancelled - Gas fires completed - 1x 15mm solder ring cap used 1mb drop on gas 2 st Helen st Gas leak found on bayonet bayonet removed Pipe capped tightness test ok when retested 11 the meadows Flue not sealed externally Sealed with mortar and nee flue rubber installed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32797
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes