## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
40 Chiltern Avenue
Chester-Le-Street
County Durham
DH2 3BE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32853
DATE OF REPORT: 19/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 40 Chiltern Avenue
Chester-Le-Street
County Durham
DH2 3BE
Carried Out On | 19/06/2023
Survey Completed By | Michael Robinson
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing exp March 33 Downstairs Smoke Alarm Location & Date - entrance hall exp Mar 33 Heat Alarm Location & Date - kitchen exp Mar 33 Co Alarm Location & Date - boiler cupboard exp Mar 34 Co Alarm Replaced - Yes Boiler to be removed - yes Boiler Serial number – CAC104730113JC Job Type – Conversion / boiler replacement / full heating - REPLACEMENT Combi / heat only / system boiler - COMBI Boiler location - UP STAIRS CUPBOARD Is 22mm gas pipe visible at boiler - YES Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE vertical see attached photos Any access requirements to access flue - small loft hatch large step ladders would enable better access Flue guard needed - no Standoff kit required - no Gas meter internal / external – EXTERNAL Condensate Condensate pump required – NO Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 32mm Number of radiators -5 Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - yes Any other means of heating - no Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32853
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes