## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Merton Court
Newcastle upon Tyne
Tyne and Wear
NE4 8JD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-32858
DATE OF REPORT: 19/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Merton Court
Newcastle upon Tyne
Tyne and Wear
NE4 8JD
Carried Out On | 19/06/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -none Downstairs Smoke Alarm Location & Date -hall0531 Heat Alarm Location & Date -kitchen1230 Co Alarm Location & Date -boilercub0930 Co Alarm Replaced - Yes/No no Boiler to be removed - Vailiant ecotec pro24 Boiler Serial number –21070200100041081300005262n5 Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler - Boiler location -hall cupboard Is 22mm gas pipe visible at boiler - no Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE horizontal Any access requirements to access flue - Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - no If no what needs to be amended to bring it up to regs ?needs upgraded to 32mm through wall Is the condensate currently through the wall in 19 or 32mm ?19 Number of radiators -4 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas no fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-32858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes