## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Springfield
Stokesley
Middlesborough
TS9 5EX
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-33238
DATE OF REPORT: 27/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 21 Springfield
Stokesley
Middlesborough
TS9 5EX
Carried Out On | 27/06/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -June 2031 Downstairs Smoke Alarm Location & Date -October 2030 Heat Alarm Location & Date -na Co Alarm Location & Date -march 2026 Co Alarm Replaced - No Boiler to be removed -glow worm 30cxi Boiler Serial number –unable to see Job Type – Conversion / boiler replacement / full heating - Combi / heat only / system boiler -combi Boiler location -bathroom Is 22mm gas pipe visible at boiler -yes Flue type – vertical, 3 extensions 2 45s Any access requirements to access flue -roofer required Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no If no what needs to be amended to bring it up to regs ?no Comes through wall in 19 Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bathroom W- 1.9 L-2.7 H-2.3 Max size rad-800x700 Current size -530x670 single Bedroom 1 W- 4.5 L-3.5 H-2.3 Max size rad 800 max height Current size- 1700 x 700 single Bedroom 2 W- 3.5 L-2.8 H-2.3 Max size rad- 800 max height Current size-1100 x 700 single Bedroom 3 W- 2.6 L-2.8 H-2.3 Max size rad- 800 max height Current size- 750 x 700 single Downstairs hallway W- 1.9 L-4.6 H-2.4 Max size rad- 1500 max length Current size- 1150 x 550 single Living room W-3.5 L-3.5 H-2.4 Max size rad- 600 max height Current size 1130 x 500 double Dining room W- 3.5 L-4.1 H-2.4 Max size rad 550 max height Current size-1880 x 500 double Kitchen W- 2.1 L-3.4 H-2.4 Max size rad-900 max length Current size-720x520 W- L- H- Max size rad Current size

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33238
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes