## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Redbarn Drive
York
YO10 3JD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-33284
DATE OF REPORT: 04/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 13 Redbarn Drive
York
YO10 3JD
Carried Out On | 04/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -June 2031 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -na Co Alarm Location & Date -December 2027 Co Alarm Replaced - No Boiler to be removed -glow worm ultracom 30cxi Boiler Serial number –na Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -no Flue type –horizontal 45 required Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Kitchen Room size-2.6 x 2.6 Celling height- 2.3 Rad size- 900 x 450 double Max size- same size Hallway Room size-3.5 x 1.2 Celling height- 2.3 Rad size- 400 x 600 Max size- 600 max length Bedroom 1 Room size-2.6 x 3.4 Celling height- 2.3 Rad size- 600 x 700 double Max size- 1000 max length Living room 1 Room size-4.5 x 2.6 Celling height- 2.3 Rad size1 -1000 x 450 Rad size 2 - 600 x 600 Max size 1- 1000 x 450 Max size 2 - 600 x 600 Bed 2 Room size-2.3 x 2.8 Celling height- 2.3 Rad size- 600 x 600 double Max size- 600 x 600 Bathroom Room size-2.7 x 1.6 Celling height- 2.3 Rad size- 750x 600 dpx Max size- 750 length

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33284
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes