## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Redbarn Drive
York
YO10 3JD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-33296
DATE OF REPORT: 04/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 15 Redbarn Drive
York
YO10 3JD
Carried Out On | 04/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date -sept 2024 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA100810414HC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –horizontal 45 required Any access requirements to access flue -yes ladders flue is second floor Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Kitchen Room size- 2.6 x 2.7 Ceiling height- 2.3 Rad size- 900 x 450 Max size-450 max height Hallway Room size- 3.2 x 1.2 Ceiling height- 2.3 Rad size- 400 x 600 dpx Max size- 500 max length Bathroom Room size- 1.5 x 2.7 Ceiling height- 2.3 Rad size- 700 x 570 dpx Max size- 700 mac length Bed 1 Room size- 2.7 x 3.4 Ceiling height- 2.3 Rad size- 600 x 600 dpx Max size- na Living room Room size- 3.4 x 4.5 Ceiling height- 2.3 Rad size1- 600 x 600 double Rad 2- 1000 x 450 Max size 1 - 600 x 600 Max size2- 450 max height Bed2 Room size- 2.3 x 2.8 Ceiling height- 2.3 Rad size- 600 c 600 dpx Max size- 600 x 600

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33296
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes