## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Redbarn Drive
York
YO10 3JD
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-33304
DATE OF REPORT: 04/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 17 Redbarn Drive
York
YO10 3JD
Carried Out On | 04/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -June 2031 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -na Co Alarm Location & Date -June 2025 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA104210069KC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –horizontal 2 45s Any access requirements to access flue -3rd floor flue big ladders Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -6 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Gas Current Fire Type –na Kitchen Room size- 2.6 x 2.6 Ceiling height- 2.3 Rad size- 900 x 450 double Max size- 450 max height 100 max length f Bathroom Room size- 2.7 x 1.6 Ceiling height- 2.3 Rad size- 700 x 500 dpx Max size- 700 length Bedroom 1 Room size- 2.3 x 2.8 Ceiling height- 2.3 Rad size- 600 x 600 Max size- 1000 max length Bedroom 2 Room size- 2.6 x 3.4 Ceiling height- 2.3 Rad size- 600 x 600 dpx Max size- 1000 max length Hallway Room size- 3.5 x 1.2 Ceiling height- 2.3 Rad size- 400 x 600 dpx Max size- 500 lengths Living room Room size- 4.5 x 3.5 Ceiling height- 2.3 Rad size 1- 600 x 600 Rad size 2 - 1000 x 450 Max size 1- 600 x 600 Max size 2- 1000 x 450 Could possibly need scaffolding as is a third floor flat and is quite high

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes