## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
PEMBROKE CT
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33563
DATE OF REPORT: 30/06/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | PEMBROKE CT
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 30/06/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
door entry 6691 No heating in flat 6 ---- Similar issue at number 2 during week and it was due to air lock in system and radiators had to be bled ---- door entry code to scheme - Push code 6691 push call ---- Mrs Young ---- Tel 07843134008 ---- Reported by Avril wellbeing officer ---- Customer services 0800 085 1171 ---- Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 3: Report
Bled all radiators which helped get a few of the radiators warm. The customer complained about the largest radiator not getting warm, however the pipes running to it were scorching. Think this radiator could do with being removed and flushed, I did balance the radiators by closing the lockshields on the working rads slightly to encourage the flow to move to the large/last radiator on the circuit. House was warm when I left and the large radiator was heating up slowly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33563
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes