## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Delight Court
Dipton
Stanley
DH9 9XJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33583
DATE OF REPORT: 01/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Delight Court
Dipton
Stanley
DH9 9XJ
Carried Out On | 01/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Low Temp Alert On Calorifier

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 3: Report
Unlocked lock box to access key for main key box. Entered the boiler house and reset both boilers and the main switch board. Waited 10 mins to ensure it didn't trip again and monitored the temp rises on both boilers.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33583
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes