## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Tyneside Grange
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33584
DATE OF REPORT: 01/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Tyneside Grange
NE49 9LF
Carried Out On | 01/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
No heating or Hot Water, Communal sheltered accommodation

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 3: Report
Accessed property and Boiler room. Reset main trip switch and both boilers. Faults cleared and main boiler fired up and second boiler status was 'standby'. Opened radiators in hallway and they started hearing up so I closed them back down. Tested hot water was working in the hallway toilet. Keys secured back into keylock.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes