## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Age Miners Homes
North Hylton Road
Sunderland
SR5 5DA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-33585
DATE OF REPORT: 01/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | Age Miners Homes
North Hylton Road
Sunderland
SR5 5DA
Carried Out On | 01/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
No hot water or Heating / Boiler Issue?

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 3: Report
Low pressure fault stopping boiler from firing. Air in system, cleared and ran the heating to dnsure all radiators heated up. Hot water also now working.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes