## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Holburn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33586
DATE OF REPORT: 02/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Holburn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 02/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Uncontainable boiler leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 3: Report
Hot water heater leaking at a the pump which was criss threaded and had worn seals. Property severely flooded. Switch off all three boilers as the flow was excessively hot. After speaking to Rhys I switched off the main flow and return isolation valves outside the flat door. When the water stopped I attempted to reattach the pump, however the brass nut at the bottom wouldn't thread and seal after 30 mins of trying. I placed a 22mm stop end on the flow and isolated the pump below to stop back feed. Reopened the main iso valves and fired up all three boilers. Then spent 45mins mopping up as the flooding was severe.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes