## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
64 Dunlop
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-33597
DATE OF REPORT: 03/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 64 Dunlop
South Shields
NE34 6QG
Carried Out On | 03/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -December 2030 Downstairs Smoke Alarm Location & Date -December 2030 Heat Alarm Location & Date -February 2030 Co Alarm Location & Date -march 2024 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number –AWA074846009CB Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –2 extensions 2 45s Any access requirements to access flue -roofer required Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ?needs brought out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes