## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
76c Long Street
THIRSK
York
YO7 1AU
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-33625
DATE OF REPORT: 04/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 76c Long Street
THIRSK
York
YO7 1AU
Carried Out On | 04/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler and radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -June 2031 Downstairs Smoke Alarm Location & Date -September 2033 Heat Alarm Location & Date -na Co Alarm Location & Date -10 Jan 2023 install date Co Alarm Replaced - No Boiler to be removed -potterton promax combi he plus Boiler Serial number – AW/A083110026BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combin Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – na Kitchen Room size- 3.1 x 2.3 Ceiling height-2.3 Current rad size-600 x 600 double Max size- 600 x 600 double Living room Room size- 5 x 3.4 Ceiling height 2.3 Current rad size- 1600 x 500 single Max size- 600 height Bedroom 1 Room size- 3.4 x 3 Ceiling height- 2.3 Current rad size- 800 x 600 single Max size- 700 max height Bathroom Room size- 2 x 1.7 Ceiling height- 2.3 Current rad size- 700 x 400 dpx Max size-400 wide Bedroom 2 Room size- 3.4 x 3.5 Ceiling height- 2.3 Current rad size- 800 x 600 single Max size - 700 max height

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33625
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes