## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Fellsdyke Court
Gateshead
Tyne and Wear
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33650
DATE OF REPORT: 03/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Fellsdyke Court
Gateshead
Tyne and Wear
Carried Out On | 03/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Job Description - No Hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 3: Report
Nothing tripped in boiler room, hot water is flowing out of both cylinders and the pump on the flow is running. Flat 7b (downstairs) has hot water, not sure about flat 7a (directly below flat 9) as there was nobody home; same with flat 8 opposite. Found the circulator and 2 port valve behind a boxed in partition. See image. There was no hot water into or out if the circulator and it appears to be working as does the 2 port. Further investigation required and I think access to other flat below.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 4: Photos
Room / Area
Bedroom
Description
Cupboard
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes