## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Homedale Court
Springfield Road
Hexham
NE46 1EL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33686
DATE OF REPORT: 04/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Homedale Court
Springfield Road
Hexham
NE46 1EL
Carried Out On | 04/07/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -landing 0932 Downstairs Smoke Alarm Location & Date -lounge0333/ hall0932 Heat Alarm Location & Date -kitchen0333 Co Alarm Location & Date -kitchen0529 Co Alarm Replaced - Yes/No no Boiler to be removed - Worcester greenstar 30cdi system Boiler Serial number –3730-106-008241 Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -system Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –horizontal If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –external Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ?internal Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yes connected to solar so doesn’t work Any other means of heating -no Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas electric Tenants phone number 07858961047 Glynis bell

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes