## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Matfen Court ( Flats 6A & 31 )
Matfen Court
Chester Le Street
DH2 2TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33787
DATE OF REPORT: 05/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Matfen Court ( Flats 6A & 31 )
Matfen Court
Chester Le Street
DH2 2TX
Carried Out On | 05/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Scheme coordintor reports heating is off again in flat 31 and 6A

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 3: Report
HW VT pump number 2 turned from "Auto" to "ON". Heating now pumping around the building. I checked the occupants radiators in flat 6A, however flat 31 wasn't in. The radiators near flat 31 starting heating though. A small leak was noticed in the pipe cupboard to the right hand side of flat 6A. Appears to be coming from the waste pipe at the top near the fire break.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes