## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 St Mary’s
South Shields
Tyne and Wear
NE34 6QA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-33799
DATE OF REPORT: 06/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 41 St Mary’s
South Shields
Tyne and Wear
NE34 6QA
Carried Out On | 06/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for planned boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -April 2030. Needs re fixed Downstairs Smoke Alarm Location & Date -has been taking down as was constantly beeping Heat Alarm Location & Date -na Co Alarm Location & Date -jam 2030 Co Alarm Replaced -No Boiler to be removed -potterton promax combi he plus Boiler Serial number – AWA081410274BC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -upstairs cupboard Is 22mm gas pipe visible at boiler -yes Flue type –Vertical, 2 extensions and 245s Any access requirements to access flue -roofer required Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – /No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -10 Size of pipework at radiators —5mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33799
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes