## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-33828
DATE OF REPORT: 30/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 06/07/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 3: Report
3 x Hamworthy fleet f85v boilers 1= operational 2= split 3= operational 2 x lochinvar SHW61-325 water heater’s 1= operational 2= operational BMS system not working correctly,it is telling all multi pump systems to operate in tandem even when it shows 1 operating 2 x wilo comfort pressurisation units 1= operational 2= operational 2 x DHWS expansion vessels 1 =operational 2= operational 1 x ASHP Expansion vessel = operational 1 x LTHW expansion vessel = operational Lagging = good Flue = good Gauges =operational Valves = operational Zone 1 pumps = grundfos magna 3d 65-150 1= operational 2= operational Zone 2 pumps = grundfos magna 3d 40-150 1= operational 2= faulty split sensor replacement required ASHP primary pumps = grundfos TPED 32-320 1= operational 2= operational ASHP secondary pumps = grundfos TPED 32-280 1= operational 2= operational Air and dirt separator = drained and cleaned out

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes