## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Mulgrave Drive
Sunderland
SR6 0QB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-33831
DATE OF REPORT: 07/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Mulgrave Drive
Sunderland
SR6 0QB
Carried Out On | 07/07/2023
Survey Completed By | Ian Ross
SECTION 2: Introduction
Reactive survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing Apr 32 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -na Co Alarm Location & Date -kitchen 08/34 Co Alarm Replaced - Yes/No no Boiler to be removed - vokera compact he Boiler Serial number –850D095130 Job Type – Conversion / boiler replacement / full heating - boiler replacment Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler --no about 1m away behind kitchen units Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE vertical 1 x extension, 2 45 x degrees Any access requirements to access flue - pitch flashing Flue guard needed - no Standoff kit required - no Gas meter internal / external – external Condensate internal Condensate pump required – Yes/No no Condensate current termination acceptable yes or no - yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? No Number of radiators - 5 Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - yes Any other means of heating - fire Current Cooker Type – Electric / Gas electric cooker Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes