## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmerson Court ( Flat 20 )
Emmerson Place
Shiremoor
NE27 0NG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-33971
DATE OF REPORT: 08/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Emmerson Court ( Flat 20 )
Emmerson Place
Shiremoor
NE27 0NG
Carried Out On | 08/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Tenants son has reported that there is no heating or hot water in the property, tenant is elderly 85 years and vulnerable due to medical reasons cannot stay cold

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 3: Report
08/07/23- RB - looked in boiler room and all looked as it should be. After checking the hot water noticed that it was hot so boilers were firing up. Upon further inspection the 3 post valves were not letting any heat through. After using bms panel noticed that the outside sensors were faulted as it was at 0 degrees. Opened the 3 port valves manually and locked into place. Heating flow went to 60 degrees quickly and radiators inside buildings started to heat up. Checked in with tenant at flat 20 and they were happy with the heat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-33971
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes