## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
353 Eastway
Eastfield
Scarborough
YO11 3QX
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-34066
DATE OF REPORT: 11/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 353 Eastway
Eastfield
Scarborough
YO11 3QX
Carried Out On | 11/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 3: Report
Boiler is new and will not need replaced Kitchen Room size- 2.9 x 2.2 Ceiling height- 2.3 Rad size- 400 x 580 double Max size- max Living room/bed room Room size- 7.1 x 2.8 Ceiling height- 2.3 Rad size- 1200 x 600 single Max size- na Hallway Room size- 3.9 x 1.7 Ceiling height- 2.3 Rad size- 600 x 600 double Max size- 600 max height Bedroom 1 Room size- 3.1 x 2.8 Ceiling height- 2.3 Rad size- 1200 x 600 dpx Max size- na Bed 2 Room size- 4 x 3.1 Ceiling height- 2.6 Rad size- na na Max size- 1400 wide Bed 3 Room size- 1.9 x 3 Ceiling height- 2.3 Rad size- 600 x 600 Max size- 600 wide max Bathroom rad not to be replaced as tenant has just bought.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes