## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Overgreen Lane
Burniston
Scarborough
YO13 0HY
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-34068
DATE OF REPORT: 11/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 5 Overgreen Lane
Burniston
Scarborough
YO13 0HY
Carried Out On | 11/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -October 2033 Downstairs Smoke Alarm Location & Date -oct 2033 Heat Alarm Location & Date -na Co Alarm Location & Date -feb 2027 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA113520312LC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type –vertical 1 extension Any access requirements to access flue -roofer required Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15 Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Upstairs bedroom Room size- 4.9 x 3.4 Ceiling height- 2 Rad size- 800 x 700 double Max size- 800 max width Bedroom 1 Room size- 4.2 x 2.8 Ceiling height- 2.4 Rad size- 1600 x 600 Max size- na Hallway Room size- 4.8 x 2.2 Ceiling height- 2.4 Rad size- 710 x 600 single (tenant requested a double) Max size- 700 x 600 Living room Room size- 5 x 3.3 Ceiling height- 2.4 Rad size- 1400 x 400 k2 Max size- 400 max height Bathroom Room size- 1.8 x 1.9 Ceiling height- 2.4 Rad size- 500 x 600 double Max size- na Bedroom 2 Room size- 3.2 x 3.0 Ceiling height- 2.4 Rad size- 1200 x 600 double Max size- na Kitchen Room size-2.7 x 3.2 Ceiling height- 2.4 Rad size- 700 x 600 double Max size- 700 wide

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes