## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Westfield Place
York
YO24 3HL
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 23-34082
DATE OF REPORT: 11/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 67 Westfield Place
York
YO24 3HL
Carried Out On | 11/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -may 2026 Downstairs Smoke Alarm Location & Date -feb 2028 Heat Alarm Location & Date -October 2028 Co Alarm Location & Date -na Co Alarm Replaced - No Boiler to be removed -potterton promax combi 28 Boiler Serial number – AWA135131537LC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required - yes Gas meter internal / external –external Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yes Any other means of heating - Current Cooker Type – na Current Fire Type – Electric / Gas Living room Room size- 4.7 x 3.3 Ceiling height- 2.6 Rad size- 1500 x 550 double Max size- na Hallway Room size- 1.8 x 4.1 Ceiling height- 2.6 Rad size- 1420 x 590 Max size- na Dining room Room size- 3.4 x 2.8 Ceiling height- 2.6 Rad size- 1270 x 560 Max size- na Bathroom Room size- 1.6 x 2.7 Ceiling height- 2.3 Rad size- 800 x 700 single Max size- 800 wide Bedroom 1 Room size- 3.4 x 3.0 Ceiling height- 2.3 Rad size- 1200x 550 single Max size- na Bedroom 2, Room size- 4.7 x 3.0 Ceiling height- 2.3 Rad size- 1350x 560 single Max size- na Bedroom 3 Room size- 2.7 x 2.8 Ceiling height- 2.3 Rad size- 950 x 560 single Max size- na

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34082
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes