## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park House
Park Avenue Close
Crook
DL15 9JR
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-34140
DATE OF REPORT: 13/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Park House
Park Avenue Close
Crook
DL15 9JR
Carried Out On | 11/07/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Investigate smell of gas within plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 3: Report
Carried out initial tightness test on the whole installation and had total drop on let by. Traced the leak to 2 loose quarter inch blanking plugs on the gas solonoid. Found these to be loose so removed and remade joints then fastened back. A final tightness test was carried out and found to be tight. On looking at previous engineers paperwork found the calculation for the meter size to be incorrect All plant is now operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes