## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
75 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34145
DATE OF REPORT: 13/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 75 The High Road
South Shields
NE34 6QF
Carried Out On | 13/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for heating distribution only

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -sort 2030 Downstairs Smoke Alarm Location & Date -April 2030 Heat Alarm Location & Date -jun 2030 Co Alarm Location & Date -September 2030 Co Alarm Replaced - No Boiler to be removed -ideal logic combi c30 Boiler Serial number – AFQ21398102140842 Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -cupboard Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – gas Current Fire Type – Electric Porch Room size-3 x 2.1 Ceiling height- 2.4 Rad size- 700 x 700 Max size- 700 width Kitchen Room size-3 x 2.9 Ceiling height- 2.4 Rad size- 700 x 700 Max size- na Living room Room size-3 x 6 Ceiling height- 2.4 Rad size- 1200 x 700 Max size- 450 max height Living room 2 Room size-3 x 6 Ceiling height- 2.4 Rad size- 1000 x 500 Max size- 500 max height Hallway Room size-1.3 x 2.3 Ceiling height- 2.4 Rad size- 550 x 700 Max size- 550 wide Bed1 Room size-1.9 x 3.5 Ceiling height- 2.3 Rad size- 950 x 500 Max size- 1000 max length Bathroom Room size-2.2 x 1.7 Ceiling height- 2.3 Rad size- 550 x 700 double Max size- 550 max length Bed 2 Room size-2.5 x 3 Ceiling height- 2.3 Rad size- 1600 x 400 Max size- 550 max height Bed 3 Room size-3.1 x 3.5 Ceiling height- 2.3 Rad size- 1600 x 400 Max size- 550 max height Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes