## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Dunlop Crescent
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34151
DATE OF REPORT: 14/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 18 Dunlop Crescent
South Shields
NE34 6QG
Carried Out On | 13/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for heating distribution only

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -unable to see date Downstairs Smoke Alarm Location & Date -unable to see Heat Alarm Location & Date -unable to see Co Alarm Location & Date -feb 2032 Co Alarm Replaced -No Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type – vertical Any access requirements to access flue -roofer required 2 extensions 245s Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bedroom 1 Room size-2.6 x 3.4 Ceiling height- 2.6 Rad size- 940 x 700 Max size- na Bedroom 2 Room size-2.5 x 2.4 Ceiling height- 2.6 Rad size- 940 x 700 Max size- na Bedroom 3 Room size-2.7 x 2.7 Ceiling height- 2.6 Rad size- 940 x 700 Max size- na Bathroom Room size-2.3 x 1.9 Ceiling height- 2.6 Rad size- 550 x 700 Max size- 700 max length Landing Room size-1.8 x 2.4 Ceiling height- 2.6 Rad size- 550 x 700 Max size- 550 max length Hallway Room size-1.3 x 2.8 Ceiling height- 2.6 Rad size- 600 x 600 Max size- 600 max length Rad was only installed 1 year ago Living room Room size-3.4 x 3.7 Ceiling height- 2.4 Rad size- 1200 x 600 Max size- na Was only fitted 1 year ago Kitchen Room size-5.2 x 2.4 Ceiling height- 2.4 Rad size- 1400 x 500 Max size- na Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes