## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
60 Diamond Road
Thornaby
Stockton
TS17 8DA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-34278
DATE OF REPORT: 14/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 60 Diamond Road
Thornaby
Stockton
TS17 8DA
Carried Out On | 14/07/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Landing Mar 2034 Downstairs Smoke Alarm Location & Date - Lounge Jan 2034, Hallway Mar 2034 Heat Alarm Location & Date - , Kitchen Feb 2034 Co Alarm Location & Date - Landing Oct 2013 Co Alarm Replaced - No Boiler to be removed - Worcester Greenstar 24i Junior Boiler Serial number – 8290-109-028433-7716130141 Job Type - Combi Swap Boiler location - Landing airing cupboard Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions - 2 x 45° elbows, 4 x 1 meter - Vertical Flue Any access requirements to access flue - In loft no loft ladder. Flue guard needed - No Standoff kit required - No Gas meter internal / external – External Condensate - Drops from upstairs into kitchen or bathroom. No termination visible. Condensate pump required – No Condensate current termination acceptable yes or no - Not visible, disappears under flooring potentially into bathrooms. If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? 21.5mm Number of radiators - 11 Size of pipework at radiators - 10mm plastic Number of bathrooms - 1 and a downstairs toilet Electric shower - Yes Any other means of heating - Nil Current Cooker Type – Gas Current Fire Type – Electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes