## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 School Approach
South Shields
NE34 6DW
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34349
DATE OF REPORT: 24/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 2 School Approach
South Shields
NE34 6DW
Carried Out On | 24/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -na Downstairs Smoke Alarm Location & Date -march 2033 Heat Alarm Location & Date - Co Alarm Location & Date -na Co Alarm Replaced - No Boiler to be removed -potterton promax Boiler Serial number – AWA081110188BC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -yes Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Needs new soakaway Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bedroom 1 Room size-4.0 x 3.0 Ceiling height- 2.4 Rad size- 1200 x 700 Max size- 700 max height Bedroom. 2 Room size-2.5 x 3.5 Ceiling height- 2.4 Rad size- 1100 x 700 Max size- na Bedroom 3 Room size-2.5 x 2.4 Ceiling height- 2.4 Rad size- 1000 x 700 Max size- na Landing Room size-1.8 x 1 Ceiling height- 2.4 Rad size- 550 x 550 Max size- same size Living room Room size-3.9 x 3.7 Ceiling height- 2.4 Rad size- 1100 x 500 Max size- same size Kitchen Room size-3.4 x 2.4 Ceiling height- 2.4 Rad size- 1200 x 500 Max size- 1200 max length Droppers as floor is tiled Toilet Room size-1.6 x 1 Ceiling height- 2.4 Rad size- 500 x 500 Max size- same size Will have to be on droppers floor tiled Bathroom Room size-1.4 x 1.5 Ceiling height- 2.4 Rad size- 500 x 700 Max size- 500 max length Will have to be on droppers floor tiled Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34349
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes