## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Hopedene
Gateshead
NE10 8JB
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34355
DATE OF REPORT: 24/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 14 Hopedene
Gateshead
NE10 8JB
Carried Out On | 24/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -sept 2028 Downstairs Smoke Alarm Location & Date -na Heat Alarm Location & Date -august 2028 Co Alarm Location & Date -October 2028 Co Alarm Replaced - No Boiler to be removed -potterton combi Boiler Serial number – AWA120130215LC Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combin Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –externals Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating - no Current Cooker Type – Electric Current Fire Type – Electric Kitchen Room size-1.75 x 4.1 Ceiling height- 2.4 Rad size- 900 x 700 Max size- 900 wide Bathroom Room size-1.7 x 1.7 Ceiling height- 2.4 Rad size- 550 x 700 Max size- 550 max length Bedroom Room size-3.1 x 3.9 Ceiling height- 2.4 Rad size- 1400 x 500 Max size- 1400 max length Living room Room size-3.1 x 4 Ceiling height- 2.4 Rad size- 1500 x 700 Max size- same size Pipework will have to be left and just rads in I’ll be changed as all floors are tiled and concrete underneath. And there is no loft space Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes