## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
102 Cotemede
Gateshead
NE10 8JR
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34359
DATE OF REPORT: 17/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 102 Cotemede
Gateshead
NE10 8JR
Carried Out On | 24/07/2023, 14/08/2023, 17/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -Jan 2030 Downstairs Smoke Alarm Location & Date -Jan 2030 Heat Alarm Location & Date -unable to see Co Alarm Location & Date -September 2028 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combin Boiler location -landing cupboard Is 22mm gas pipe visible at boiler -yes Flue type –vertical 2 extensions 2 45s Any access requirements to access flue -roofer Flue guard needed -non Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required –/No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bed 1 Room size-2.3 x 1.8 Ceiling height- 2.3 Rad size- 940 x 500 Max size- 1100 max Bed 2 Room size-3.2 x 3.6 Ceiling height- 2.3 Rad size- 1750 x 400 Max size- 600 max height Bed 3 Room size-3.1 x 3.1 Ceiling height- 2.3 Rad size- 940 x 500 Max size- 1200 max length. Bathroom Room size-2.3 x 1.7 Ceiling height- 2.3 Rad size- 550 x 700 Max size- size Hallway Room size-3.9 x 1.8 Ceiling height- 2.3 Rad size- 940 x 700 Max size- 1100 max Kitchen Room size-3 x 3 Ceiling height- 2.3 Rad size- 700 x 600 Max size- same size Living room Room size-2.4 x 6.9 Ceiling height- 2.3 Rad size1-1130 x 600 Rad size2- 1330 x 500 Max size1- same size Max size2-needs to be 450 Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34359
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes