## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
49 St. Marys Avenue
South Shields
NE34 6QA
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34381
DATE OF REPORT: 17/08/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 49 St. Marys Avenue
South Shields
NE34 6QA
Carried Out On | 27/07/2023, 17/08/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -nov 2030 Downstairs Smoke Alarm Location & Date -nov 2030 Heat Alarm Location & Date -November 2033 Co Alarm Location & Date -feb 2034 Co Alarm Replaced -no Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom Is 22mm gas pipe visible at boiler -yes Flue type – horizontal Any access requirements to access flue -ladders Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Soak away Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -15’m Number of bathrooms -1 Electric shower -no Any other means of heating - no Current Cooker Type – na Current Fire Type – electric Bed1 Room size-2.8 c 4 Ceiling height- 2.3 Rad size- 1330 x 700 Max size- same size Bed. 2 Room size-2.6 x 3.5 Ceiling height- 2.3 Rad size- 1130 x 700 Max size- 1200 max Bed 3 Room size-2.5 x 2.4 Ceiling height- 2.3 Rad size- 920 x 700 Max size- 1100 max Landing Room size-1 x 0.9 Ceiling height- 2.7 Rad size- 540 x 709 Max size- same size Living room Room size-3.6 c 3.4 Ceiling height- 2.3 Rad size- 1130 x 709 Max size- same size Kitchen Room size-3.4 x 2.5 Ceiling height- 2.3 Rad size- 1300 x 600 Max size- same size Bathroom Room size-1.5 x 1.4! Ceiling height- 2.3 Rad size- 500 x 600 Max size- same size Toilet Room size-1.6 x 0.9’ Ceiling height- 2.3 Rad size- 500 x 600 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34381
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes