## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
78 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34384
DATE OF REPORT: 27/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 78 The High Road
South Shields
NE34 6QF
Carried Out On | 27/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -April 2031 Downstairs Smoke Alarm Location & Date -march 2033 Heat Alarm Location & Date -jam 2029 Co Alarm Location & Date -April 2032 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating - Full heating Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type – Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required –/No Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Internal Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Kitchen Room size-3.7 x 1.9 Ceiling height- 2.4 Rad size- 1200 x 500 Max size- 500 max height Pipes will be on droppers Bathroom Room size-2.6 x 3.2 Ceiling height- 2.4 Rad size- 620 x 720 Max size- 620 max length Pipes will have to be brought down in kitchen and then taking through the wall into bathroom. Living room Room size-3.5 x 4.2 Ceiling height- 2.4 Rad size- 1500 x 550 Max size- 1500 max length Living room will be on droppers coving in room so will need to be cut around that Bedroom 1 Room size-4.2 x 1.9 Ceiling height- 2.4 Rad size- 1120 x 700 Max size- 1120 max length Pipe run will go all the way along the top of the landing to feed all three radiators upstairs. Landing Room size-1.8 x 0.9 Ceiling height- 2.4 Rad size- 540 x 700 Max size- 540 max length Bedroom 2 Room size-4.5 x 3.0 Ceiling height- 2.4 Rad size- 1120 x 700 Max size- na Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34384
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes