## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
58 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34435
DATE OF REPORT: 24/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 58 The High Road
South Shields
NE34 6QF
Carried Out On | 24/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -feb 2030 Downstairs Smoke Alarm Location & Date -nov 2029 Heat Alarm Location & Date -na Co Alarm Location & Date -October 2026 Co Alarm Replaced - No Boiler to be removed -potterton promax combi 28 Boiler Serial number – AWA073745239CB Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Downstairs has laminate flooring downstairs. Spoke to Tenant and they would be happy with bringing droppers down the walls of each downstairs room so it wouldn’t disturb the flooring. Kitchen Room size-1.9 x 4.6 Ceiling height- 2.4 Rad size- 1200 x 500 double Max size- 1200 max length Downstairs toilet Room size-0.9 x 1.6 Ceiling height- 2.4 Rad size- 500 x 700 Max size-500 max length Bathroom Room size-2.1 x 2.6 Ceiling height- 2.4 Rad size- 700 x 500 Max size-na Living room Room size-2.4 x 3.0 Ceiling height- 2.4 Rad size- 1300 x 500 Max size-1300 max length Landing Room size-1.8 x 1.3 Ceiling height- 2.4 Rad size- 500 x 700 Max size-500 wide Bedroom 1 Room size-4.2 x 3 Ceiling height- 2.4 Rad size- 1100 x 700 Max size-na Bedroom 2 Room size-4.2 x 2.1 Ceiling height- 2.4 Rad size- 1100 x 700 Max size-700 max height Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34435
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes