## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
66 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34441
DATE OF REPORT: 27/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 66 The High Road
South Shields
NE34 6QF
Carried Out On | 27/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 3: Report
TLO Has spoke to tenant who has confirmed they would not be in. Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date -April 2019 Co Alarm Location & Date -feb 2026 Co Alarm Replaced - No Boiler to be removed -potterton promax combi Boiler Serial number – AWA083210510BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type – horizontal Any access requirements to access flue -ladders second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –no Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Bedroom 1 Room size-3.1 x 4.3 Ceiling height- 2.4 Rad size- 1130 x 700 Max size- 700 max height Landing Room size- 1.9 x 1 Ceiling height- 2.4 Rad size- 540 x 670 Max size- 650 max height Bedroom 2 Room size-1.9 x 4.3 Ceiling height- 2.4 Rad size- 1200 x 700 Max size- same Living room Room size-3.5 x 4.2 Ceiling height- 2.4 Rad size- 1000 x 500 Max size- same size Bathroom Room size-2.6 x 3.7 Ceiling height- 2.4 Rad size- 620 x 720 Max size- same size Kitchen Room size-4.2 x 1.9 Ceiling height- 2.4 Rad size- 1220 x 520 Max size- same side Tenant has asked to only replace radiators as every room in the house has laminate flooring in and doesn’t want anything disturbed. TLO from novous has agreed and is going to get something for the tenant to sign. Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34441
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes