## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
68 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34446
DATE OF REPORT: 24/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 68 The High Road
South Shields
NE34 6QF
Carried Out On | 24/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date -July 2033 Co Alarm Location & Date -unable to see Co Alarm Replaced -No Boiler to be removed -potterton promax combi Boiler Serial number – AWA073946174CB Job Type – Conversion / boiler replacement / full heating -boiler swap Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –horizontal Any access requirements to access flue -non Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs taking out in 32mm Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - Size of pipework at radiators - Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric Current Fire Type – Electric Kitchen Room size-4.2 1.9 Ceiling height- 2.4 Rad size- 1300 x 500 Max size- 1300 max size Tenant does not want trunking and has requested it pipework for this can stay. Bathroom Room size-2.7 x 2.1 Ceiling height- 2.4 Rad size- 650 x 700 Max size- same size Concrete floor, trunking to be ran to the left of door and light switch to be moved further along Toilet Room size-0.9 x 1.5 Ceiling height- 2.4 Rad size- 500 x 600 Max size- same size Will need trunking to right of door, concrete floor Living room Room size-3.5 x 4.5 Ceiling height- 2.4 Rad size- 1300 x 600 Max size- na Wooden floor, tenant has requested pipework be kept undone floor as has nice coving and doesn’t want it ruined. Landing Room size-1.1 x 1.9 Ceiling height- 2.4 Rad size- 500 x 700 Max size- 500 wide Bedroom 1 Room size-4.1 x 2.8 Ceiling height- 2.4 Rad size- 1100 x 700 Max size- na Bedroom 2 Room size-4.2 x 1.9 Ceiling height- 2.4 Rad size- 1100 x 700 Max size- same size Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34446
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes