## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
125 The High Road
South Shields
NE34 6QF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 23-34491
DATE OF REPORT: 31/07/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 125 The High Road
South Shields
NE34 6QF
Carried Out On | 31/07/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 3: Report
Tenant has requested that the pipework and radiators to be left and boiler to be replaced. Said they work fine and there will be a lot of upheaval. The tenant it due an operation in hospital Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date - Co Alarm Replaced - Yes/No Boiler to be removed -potterton promax combi Boiler Serial number – Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -kitchen Is 22mm gas pipe visible at boiler -yes Flue type –Horizontal Any access requirements to access flue - Flue guard needed - Standoff kit required - Gas meter internal / external – Condensate Condensate pump required – Yes/No Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Needs taking out in 32. Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -7 Size of pipework at radiators -15mm Number of bathrooms - Electric shower - Any other means of heating - Current Cooker Type – Electric / Gas Current Fire Type – Electric / Gas Kitchen Room size-4.2 x 2.4 Ceiling height- 2.4 Rad size- 1250 x 500 Max size- same size Living room Room size-3.7 x 3.9 Ceiling height- 2.4 Rad size- 1120 x 500 Max size- na Landing Room size-1.8 x 2.8 Ceiling height- 2.4 Rad size- 550 x 700 Max size- 550 max length Bed 1 Room size-2.4 x 2.5 Ceiling height- 2.4 Rad size- 900 x 700 Max size- na Bed 2 Room size-3.6 x 2.5 Ceiling height- 2.4 Rad size- 930 x 700 Max size- na Bed 3 Room size-2.2 x 2.8 Ceiling height- 2.4 Rad size- 900 x 700 Max size- na Bathroom Room size-2.8 x 2.2 Ceiling height- 2.4 Rad size- 500 x 950 Max size- no Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size- Room size- Ceiling height- Rad size- Max size-

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-34491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes